## Slide 1
Line clearance/Closure/Re-Verification data (Device & Cartridge)
Description | July | August | September | October | November | Total Qty (Nos)
Line Clearance -Approved | 670 | 690 | 338 | 249 | 517 | 2464
Line Clearance - Not Approved | 0 | 11 | 06 | 04 | 08 | 29
Line Closure- Approved | 653 | 673 | 385 | 243 | 505 | 2459
Line Closure- Not Approved | 0 | 08 | 06 | 05 | 10 | 29
Line Reverification - Approved | 515 | 993 | 975 | 883 | 1055 | 4421
Line Reverification - Not Approved | 0 | 12 | 06 | 07 | 09 | 34
Line Verification - Approved | 1023 | 1201 | 1256 | 1318 | 1392 | 6190
Line Verification - Not Approved | 0 | 0 | 0 | 0 | 01 | 01

## Slide 2
Avg time taken for clearance/Closure/Re-verification
Description | Average time for Line Clearance (Mins.) |  |  |  | Average time for Line closure (Mins.) |  |  |  | Average time for Line Re-Verification (Mins.) |  |  | 
 | Jan to Aug | Sep | Oct | Nov | Jan to Aug | Sep | Oct | Nov | Jan to Aug | Sep | Oct | Nov
QR CODE GENERATION | 6:25 | 6:24 | 5:06 | 6:07 | 5:27 | 5:48 | 5:26 | 5:37 | 5:27 | 6:12 | 4:00 | 7:00
QR PASTING | 6:15 | 5:51 | 5:33 | 6:06 | 6:39 | 6:05 | 4:43 | 5:13 | 6:39 | 6:55 | 5:34 | 5:30
GROMMET FIXING | 6:11 | 6:30 | 5:14 | 5:43 | 6:41 | 5:42 | 5:20 | 7:09 | 6:41 | 5:00 | 5:11 | 5:57
SMILEY ASSEMBLY | 6:20 | 6:13 | 5:09 | 6:22 | 6:27 | 5:39 | 6:39 | 5:43 | 6:27 | 5:39 | 4:37 | 5:38
Sample filter washing | 5:57 | 6:26 | 5:10 | 8:00 | 4:30 | 4:43 | 6:22 | 5:20 | 4:30 | NA | NA | NA
Sample filter heating | 6:05 | 6:00 | 6:00 | 6:22 | 3:40 | 6:00 | 5:12 | 5:22 | 3:40 | 3:00 | 6:00 | 5:00
Dump to annealing | 8:59 | 8:33 | 9:12 | 11:02 | 8:15 | 11:10 | 10:22 | 13:44 | 8:15 | 6:19 | 5:52 | 6:01
Matrix pallet filling to pouch packing | 10:28 | 10:45 | 8:55 | 10:17 | 9:08 | 10:12 | 10:38 | 11:33 | 9:08 | 7:03 | 6:32 | 6:56
Rework | 8:09 | 5:00 | 9:00 | 5:47 | 9:02 | 5:30 | 5:00 | 5:32 | 9:02 | 5:00 | 3:00 | 6:00
Packing verification | NA | NA | NA | NA | NA | NA | NA | NA | 6:39 | 5:45 | 5:19 | 6:05
LINE-G (Automation line) | NA | NA | NA | 13:00 | NA | NA | NA | 12:00 | NA | NA | NA | 4:30

## Slide 3
Avg time taken for clearance/Closure/Re-verification
Description | Average time for Line Clearance (Mins.) |  |  |  | Average time for Line closure (Mins.) |  |  |  | Average time for Line Re-Verification (Mins.) |  |  | 
 | Jan to Aug | Sep | Oct | Nov | Jan to Aug | Sep | Oct | Nov | Jan to Aug | Sep | Oct | Nov
Assembly of Rapid cell Lysis system |  |  |  |  |  |  |  |  |  |  |  | 
Door mechanism assembly | 4:08 | NA | 3:02 | 4:53 | 3:16 | NA | 4:02 | 5:06 | 4:05 | NA | 5:03 | 4:04
Final assembly and labeling | 3:12 | NA | 3:04 | 3:05 | 4:03 | NA | 3:04 | 4:09 | 4:12 | NA | NA | 3:08
Integration testing | 3:56 | NA | 2:10 | 2:04 | 2:08 | NA | 3:06 | 2:12 | 3:51 | NA | 2:11 | 1:11
Assembly of Two bay PCR Machine |  |  |  |  |  |  |  |  |  |  |  | 
Final assembly and labelling | 5:13 | 3:03 | 3:24 | 4:12 | 7:22 | 4:23 | 3:11 | 5:11 | 3:42 | 2:10 | NA | 2:07
Bottom cover and top cover | 5:02 | 4:27 | NA | 7:09 | 10:03 | 4:21 | NA | 8:10 | 3:06 | 2:08 | NA | 2:10
AFC TESTING | 8:05 | 7:18 | NA | 6:12 | 8:53 | 4:15 | NA | 3:18 | 9:32 | 2:09 | NA | 1:02
Packing | 6:03 | 5:12 | NA | 3:07 | 4:14 | 2:13 | NA | 5:08 | 2:32 | 2:08 | 1:17 | 3:10
case closing and labelling | 4:23 | NA | 3:20 | NA | 8:42 | NA | 4:21 | NA | 3:20 | NA | 2:12 | NA
Dye Testing Duo rework line | 2:56 | NA | 2:16 | NA | 5:03 | NA | 3:11 | NA | 4:32 | NA | 1:15 | NA
Mechanism with Optics Assembly | 3:23 | NA | 2:21 | NA | 4:35 | NA | 2:16 | NA | NA | NA | 2:12 | NA
Optics sub assembly | 6:02 | NA | 3:24 | NA | 3:19 | NA | 5:11 | NA | 5:26 | NA | 1:14 | NA
Top and bottom cover assembly | 8:01 | NA | 5:16 | NA | 4:24 | NA | 6:13 | NA | 1:58 | NA | 1:14 | NA

## Slide 4
Avg time taken for clearance/Closure/Re-verification
Description | Average time for Line Clearance (Mins.) |  |  |  | Average time for Line closure (Mins.) |  |  |  | Average time for Line Re-Verification (Mins.) |  |  | 
 | Jan to Aug | Sep | Oct | Nov | Jan to Aug | Sep | Oct | Nov | Jan to Aug | Sep | Oct | Nov
Assembly of Sixteen Bay PCR Machine |  |  |  |  |  |  |  |  |  |  |  | 
4x4 packing | NA | 3:09 | 4:09 | 5:09 | NA | 4:11 | 3:02 | 5:11 | NA | NA | NA | NA
4x4 top and bottom cover assembly | NA | 4:08 | 6:12 | 5:08 | NA | 6:11 | 7:10 | 6:11 | NA | 2:04 | 3:02 | 2:04
AFC Testing 4x4 | NA | 3:08 | 4:13 | 5:08 | NA | 5:13 | 4:16 | 3:11 | NA | 3:16 | 2:12 | 4:16
Assembly of extraction Device |  |  |  |  |  |  |  |  |  |  |  | 
Top cover Assembly | 4:23 | NA | NA | 6:07 | 5:54 | NA | NA | 4:40 | NA | NA | NA | NA
Mechanism assembly | 4:11 | NA | NA | 3:06 | 4:33 | NA | NA | 4:15 | 3:02 | NA | NA | NA
Wiring - Main Assembly area | 7:02 | NA | NA | 5:43 | 8:01 | NA | NA | 8:08 | NA | NA | NA | NA
Bottom cover | 6:44 | NA | NA | 6:22 | 7:05 | NA | NA | 4:02 | NA | NA | NA | NA
Testing | 4:27 | NA | NA | 7:00 | 5:01 | NA | NA | 5:39 | NA | NA | NA | NA
Packing room 1 | 3:01 | NA | NA | 6:22 | 3:26 | NA | NA | :40 | NA | NA | NA | NA
Eject Motor Sub Assembly | 4:22 | NA | 2:05 | NA | 3:03 | NA | 3:47 | NA | NA | NA | NA | NA
Valve Rotating Sub Assembly ASED | 5:34 | 3:11 | NA | NA | 4:58 | 4:11 | NA | NA | NA | NA | NA | NA
Fluid Nozzle Sub Assembly | 5:53 | 4:05 | NA | NA | 6:14 | 4:18 | NA | NA | NA | NA | NA | NA

## Slide 5
Avg time taken for clearance/Closure/Re-verification
Description | Average time for Line Clearance (Mins.) |  |  |  | Average time for Line closure (Mins.) |  |  |  | Average time for Line Re-Verification (Mins.) |  |  | 
 | Jan to Aug | Sep | Oct | Nov | Jan to Aug | Sep | Oct | Nov | Jan to Aug | Sep | Oct | Nov
CAM Sub Assembly | 5:12 | 3:06 | NA | NA | 5:30 | NA | 2:18 | NA | NA | NA | NA | NA
Sliding Block Sub Assembly | 3:42 | 2:06 | NA | NA | 5:11 | NA | 3:02 | NA | NA | NA | NA | NA
POKA-YOKA Plate SUB ASSEMBLY | 4:53 | 3:06 | NA | NA | 4:22 | NA | 2:09 | NA | NA | NA | NA | NA
Fixed Plate Sub Assembly | 6:41 | 3:08 | NA | NA | 4:53 | NA | 2:08 | NA | NA | NA | NA | NA
Locking Block Sub Assembly | 4:20 | 3:10 | NA | NA | 3:42 | NA | 2:07 | NA | NA | NA | NA | NA
Valve Motor -1 Sub Assembly | 3:20 | 3:24 | NA | NA | 5:39 | NA | 2:06 | NA | NA | NA | NA | NA
Peristaltic pump sub assembly | 3:32 | 2:09 | NA | NA | 3:46 | NA | 3:07 | NA | NA | NA | NA | NA
filter sub assembly | 3:43 | 2:06 | NA | NA | 4:00 | NA | 3:09 | NA | NA | NA | NA | NA
mechanism assembly | 6:50 | 3:13 | NA | NA | 2:09 | NA | 7:09 | NA | 3:26 | NA | NA | NA
Bottom cover assembly | 4:46 | 4:21 | NA | NA | 4:03 | NA | 6:13 | NA | NA | NA | NA | NA
Wiring Assembly | 6:30 | 3:09 | NA | NA | 4:54 | NA | 5:08 | NA | NA | NA | NA | NA
Heater testing | 8:31 | 3:12 | NA | NA | 3:45 | NA | 4:07 | NA | 3:37 | NA | NA | NA
Testing | 9:46 | 5:20 | NA | NA | 5:03 | NA | 4:09 | NA | NA | NA | NA | NA
vacuum nozzle sub assembly | 4:02 | NA | NA | NA | 6:51 | NA | NA | NA | NA | NA | NA | NA

## Slide 6
Incident Data
Incident data from Jan-2025 To Nov-2025 |  |  |  | 
Sr No | Month | Minor | Major | Critical
01 | Jan-25 | 7 | 0 | 0
02 | Feb-25 | 12 | 03 | 0
03 | Mar-25 | 20 | 01 | 01
04 | Apr-25 | 04 | 0 | 0
05 | May-25 | 06 | 01 | 0
06 | Jun-25 | 01 | 0 | 0
07 | Jul-25 | 01 | 0 | 0
08 | Aug-25 | 04 | 0 | 0
09 | Sep-25 | 7 | 02 | 0
10 | Oct-25 | 05 | 0 | 0
11 | Nov-25 | 06 | 0 | 0

## Slide 7
Calibration data
July | August | September | October | November | Total Qty (Nos)
28 | 6 | 48 | 5 | 19 | 106

## Slide 8
New Process Implementation
New Process Implementation – Site III
Monthly meeting with MG and MN on rejections/challenges – Reduced in process rejections from existing 4 to 2.5% in cartridge and rework happening for metal enclosures of Duo and Quatro.
Observation meeting on shop floor for every 15 days – Reduction of repetitive NC’s by 50 %
Work instructions in the production floor – Better and easy understanding of work flow
Re-Work area implemented (Line-Wise) – Mix up of cartridges avoided
Implementation of Particle count testing - Proactive measure to avoid the dust – IQC modification
In the QR pasting activity, segregation of tables has been done to prevent cartridge mix-up – Mitigation of repetitive incident.
The pictorial representation has been implemented – For awareness of repetitive defects
Change control tracking sheet – For clear understating of activities and planning
Defect rate set for each stage – Implemented for Cartridge and in progress for Device
Limit sample register – CC Under progress
QR scanning software has to introduced to ensure proper line-wise identification and to eliminate cartridge/mould mix-up – Under Progress